## levels_and_zones
level | equipments | zones | source_url
Plantroom | default | Plantroom, All | default
Ground | VAV_C1, VAV_C2, VAV_C3, FCU_G_1, FCU_G_2, FCU_G_3, PAU_G_1 | Plantroom, All, C1, C2, C3, G_1, G_2, G_3 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Ground%7Cview:Level_GF
Level 1 | VAV_P1, VAV_P2, VAV_C1, VAV_C2 | Plantroom, All, P1, P2, C1, C2 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_1%7Cview:Level_1
Level 2 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
Level 3 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
Level 4 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
Level 5 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
Level 6 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5, VAV_C6 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5, C6 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
Level 7 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
Level 8 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
Level 9 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
Level 10 | VAV_P5, VAV_P6, VAV_P7, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P5, P6, P7, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
Level 11 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5, PAU_11_1, PAU_11_2, PAU_11_3 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5, 11_1, 11_2, 11_3 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
Level 12 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, C1, C2, C3, C4, C5 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
Level 14 | VAV_P1, VAV_P2, VAV_P3, VAV_P4, VAV_P5, VAV_P6, VAV_P7, VAV_P8, VAV_C1, VAV_C2, VAV_C3, VAV_C4, VAV_C5, VAV_C6, PAU_14_1 | Plantroom, All, P1, P2, P3, P4, P5, P6, P7, P8, C1, C2, C3, C4, C5, C6, 14_1 | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
Roof |  | Plantroom, All
B1 |  | Plantroom, All

## equipment_list
equipment_name | level_select | zone_select | equipment_type_select | source_url
HR_CZN_AHU | Roof | Plantroom | Air Handling Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/AHUSummary%7Cview:AHUSummary
HR_PZN_AHU | Roof | Plantroom | Air Handling Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/AHUSummary%7Cview:AHUSummary
LR_CZN_AHU | B1 | All | Air Handling Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/AHUSummary%7Cview:AHUSummary
LR_PZN_AHU | B1 | All | Air Handling Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/AHUSummary%7Cview:AHUSummary
CPEF | B1 | All | Car Park Ventilation | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/Ventilation/Carpark%7Cview:CarparkExhaustFans
CPSF | B1 | All | Car Park Ventilation | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/Ventilation/Carpark%7Cview:CarparkExhaustFans
Chiller_1 | Plantroom | Plantroom | Chiller | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CHWPlant%7Cview:CHW_Overview
Chiller_2 | Plantroom | Plantroom | Chiller | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CHWPlant%7Cview:CHW_Overview
Chiller_3 | Plantroom | Plantroom | Chiller | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CHWPlant%7Cview:CHW_Overview
CDWP-1 | Plantroom | Plantroom | Condenser Water Pumps | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CWPlant%7Cview:CWOverview
CDWP-2 | Plantroom | Plantroom | Condenser Water Pumps | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CWPlant%7Cview:CWOverview
CDWP-3 | Plantroom | Plantroom | Condenser Water Pumps | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CWPlant%7Cview:CWOverview
CT-1 | Plantroom | Plantroom | Cooling Tower | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CWPlant%7Cview:CWOverview
CT-2 | Plantroom | Plantroom | Cooling Tower | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CWPlant%7Cview:CWOverview
TEF_1 | Level 15 | All | Exhaust Air Fans | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/Ventilation%7Cview:Ventilation
TEF_2 | Level 15 | All | Exhaust Air Fans | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/Ventilation%7Cview:Ventilation
FCU_G_1 | Ground | G_1 | Fan Coil Units (Legacy) | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
FCU_G_2 | Ground | G_2 | Fan Coil Units (Legacy) | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
FCU_G_3 | Ground | G_3 | Fan Coil Units (Legacy) | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
PAU_11_1 | Level 11 | 11_1 | Packaged Air Conditioning Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
PAU_11_2 | Level 11 | 11_2 | Packaged Air Conditioning Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
PAU_11_3 | Level 11 | 11_3 | Packaged Air Conditioning Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
PAU_14_1 | Level 14 | 14_1 | Packaged Air Conditioning Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
PAU_G_1 | Ground | G_1 | Packaged Air Conditioning Units | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/FCUSummary%7Cview:FCUSummary
CHWP-1 | Plantroom | Plantroom | Primary Chilled Water Pumps | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CHWPlant%7Cview:CHW_Overview
CHWP-2 | Plantroom | Plantroom | Primary Chilled Water Pumps | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CHWPlant%7Cview:CHW_Overview
CHWP-3 | Plantroom | Plantroom | Primary Chilled Water Pumps | https://61.68.34.54:4443/ord/station:%7Cslot:/GUI/CHWPlant%7Cview:CHW_Overview
VAV_C1 | Ground | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Ground%7Cview:Level_GF
VAV_C2 | Ground | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Ground%7Cview:Level_GF
VAV_C3 | Ground | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Ground%7Cview:Level_GF
VAV_C1 | Level 1 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_1%7Cview:Level_1
VAV_C2 | Level 1 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_1%7Cview:Level_1
VAV_P1 | Level 1 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_1%7Cview:Level_1
VAV_P2 | Level 1 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_1%7Cview:Level_1
VAV_C3 | Level 10 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
VAV_C4 | Level 10 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
VAV_C5 | Level 10 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
VAV_P5 | Level 10 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
VAV_P6 | Level 10 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
VAV_P7 | Level 10 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_10%7Cview:Level_10
VAV_C1 | Level 11 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_C2 | Level 11 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_C3 | Level 11 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_C4 | Level 11 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_C5 | Level 11 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P1 | Level 11 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P2 | Level 11 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P3 | Level 11 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P4 | Level 11 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P5 | Level 11 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P6 | Level 11 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_P7 | Level 11 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_11%7Cview:Level_11
VAV_C1 | Level 12 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_C2 | Level 12 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_C3 | Level 12 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_C4 | Level 12 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_C5 | Level 12 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P1 | Level 12 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P2 | Level 12 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P3 | Level 12 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P4 | Level 12 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P5 | Level 12 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P6 | Level 12 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_P7 | Level 12 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_12%7Cview:Level_12
VAV_C1 | Level 14 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_C2 | Level 14 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_C3 | Level 14 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_C4 | Level 14 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_C5 | Level 14 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_C6 | Level 14 | C6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P1 | Level 14 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P2 | Level 14 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P3 | Level 14 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P4 | Level 14 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P5 | Level 14 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P6 | Level 14 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P7 | Level 14 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_P8 | Level 14 | P8 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_14%7Cview:Level_14
VAV_C1 | Level 2 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_C2 | Level 2 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_C3 | Level 2 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_C4 | Level 2 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_C5 | Level 2 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_P1 | Level 2 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_P2 | Level 2 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_P5 | Level 2 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_P6 | Level 2 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_P7 | Level 2 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_2%7Cview:Level_2
VAV_C1 | Level 3 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_C2 | Level 3 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_C3 | Level 3 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_C4 | Level 3 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_C5 | Level 3 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P1 | Level 3 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P2 | Level 3 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P3 | Level 3 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P4 | Level 3 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P5 | Level 3 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P6 | Level 3 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_P7 | Level 3 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_3%7Cview:Level_3
VAV_C1 | Level 4 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_C2 | Level 4 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_C3 | Level 4 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_C4 | Level 4 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_C5 | Level 4 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P1 | Level 4 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P2 | Level 4 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P3 | Level 4 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P4 | Level 4 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P5 | Level 4 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P6 | Level 4 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_P7 | Level 4 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_4%7Cview:Level_4
VAV_C1 | Level 5 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_C2 | Level 5 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_C3 | Level 5 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_C4 | Level 5 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_C5 | Level 5 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P1 | Level 5 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P2 | Level 5 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P3 | Level 5 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P4 | Level 5 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P5 | Level 5 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P6 | Level 5 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_P7 | Level 5 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_5%7Cview:Level_5
VAV_C1 | Level 6 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_C2 | Level 6 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_C3 | Level 6 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_C4 | Level 6 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_C5 | Level 6 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_C6 | Level 6 | C6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P1 | Level 6 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P2 | Level 6 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P3 | Level 6 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P4 | Level 6 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P5 | Level 6 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P6 | Level 6 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_P7 | Level 6 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_6%7Cview:Level_6
VAV_C1 | Level 7 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_C2 | Level 7 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_C3 | Level 7 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_C4 | Level 7 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_C5 | Level 7 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P1 | Level 7 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P2 | Level 7 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P3 | Level 7 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P4 | Level 7 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P5 | Level 7 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P6 | Level 7 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_P7 | Level 7 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_B/points/Level_7%7Cview:Level_7
VAV_C1 | Level 8 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_C2 | Level 8 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_C3 | Level 8 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_C4 | Level 8 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_C5 | Level 8 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P1 | Level 8 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P2 | Level 8 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P3 | Level 8 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P4 | Level 8 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P5 | Level 8 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P6 | Level 8 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_P7 | Level 8 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_8%7Cview:Level_8
VAV_C1 | Level 9 | C1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_C2 | Level 9 | C2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_C3 | Level 9 | C3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_C4 | Level 9 | C4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_C5 | Level 9 | C5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P1 | Level 9 | P1 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P2 | Level 9 | P2 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P3 | Level 9 | P3 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P4 | Level 9 | P4 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P5 | Level 9 | P5 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P6 | Level 9 | P6 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
VAV_P7 | Level 9 | P7 | Variable Air Volume | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Level_9%7Cview:Level_9
ColdWtrInlet_Water_Meter | Plantroom | Plantroom | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
CT1_CT2_Makeup_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
CT1_Makeup_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
CT2_Makeup_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
CT3_Makeup_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
CT7_CT8_Makeup_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
Female_EoT_Hot_Water_Meter | B1 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
Flusherette_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
Gravity_Water_Meter | Level 15 | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview
Male_EoT_Hot_Water_Meter | Ground | All | Water Meters | https://61.68.34.54:4443/ord/station:%7Cslot:/Drivers/NiagaraNetwork/JACE_100Wickham_A/points/Meters/Water%7Cview:WaterMeterOverview

## points_list
equipment_name | level_select | zone_select | equipment_type_select | device_id | graphic_point_name | graphic_value | graphic_unit | underlying_point_name
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | AHAC (L1–L5) | Off |  | AHAC
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Call To Start | Off |  | CallToStart
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | CHW Valve Signal | 0 | % | CHW_Valve
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | CHWV | 0 | % | CHW_Valve
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Controls Enabled | Disabled |  | ControlsEnabled
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Economy Dampers | 0 | % | Economy_Damper_ToScreen
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Economy Mode | Disabled |  | Economy_Mode_Enabled
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Fan Run On Time | 120 | s | RunOnTime
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Filters | Clean |  | Filter_Status
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | In Auto | No |  | (no DOM binding)
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | O/A Damper | 15 | % | OA_Damper
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | O/S (L1–L5) | Off |  | Opt_Start
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | OAH | 49 | %RH | OAH
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | OAT | 29 | °C | OAT
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Out Of Service | No |  | (no DOM binding)
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | R/A Damper | 100 | % | RA_Damper
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | R/A Duct Pressure | 4 | Pa | RA_StaticPressure
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | R/A Pressure Setpoint | 25 | Pa | RA_DuctPressSPT
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | RAF Alarm | Normal |  | RAF_Alarm
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | RAF Call | Off |  | RAF_Call
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | RAF HLI Auto/Hand | Auto |  | HLI_HAND_AUTO
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | RAF HLI Frequency | 0 | Hz | HLI_Freq
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | RAF Speed | 0 | % | RAF_Speed
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | RAF Status | Stopped |  | RAF_Status
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Relief Damper | 0 | % | Relief_Damper
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Return Air Humidity | 52 | %RH | Common_RAH
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Return Air Temp | 25.4 | °C | Common_RAT
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | S/A Duct Pressure | 23 | Pa | SA_StaticPressure
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | S/A Pressure Setpoint | 500 | Pa | SA_DuctPressSPT
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAF Alarm | Normal |  | SAF_Alarm
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAF Call | Off |  | SAF_Call
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAF HLI Auto/Hand | Auto |  | HLI_HAND_AUTO
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAF HLI Frequency | 2.99 | Hz | HLI_Freq
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAF Speed | 0 | % | SAF_Speed
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAF Status | Stopped |  | SAF_Status
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | SAT | 21.4 | °C | SAT
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Schedule (L1–L5) | Off |  | Schedule
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Selected VAV Offset | 0 | °C | ZoneOffset
LR_PZN_AHU | Roof | HR-Centre | Air Handling Units | LR_PZN_AHU | Supply Temp Setpoint | 21 | °C | SupplyTempSPT

## equipment_types
equipment_types
Active Chilled Beams
Air Cooled Condensers
Air Curtain
Air Handling Units
Air to Air Heat Exchanger
BACER
Bacer (System)
Bathroom Fixtures
Boiler
Buffer Tank
Building
Calorifier
Car Park Ventilation
Car Plug
Chiller
Chiller Plant
Cold Water Booster Pumps
Combined Heating & Power
Compressed Air
Computer Room Air Conditioning Unit
Condenser Water Pumps
Cooling Tower
Domestic Cold Water
Domestic Hot Water
Dry Cooler
Econet Heat Recovery Unit
Elevator
Exhaust Air Fans
Fan Coil Units (Legacy)
Fire Integration Panel
Gas Detector
Gas Meters
Gas Meters (System)
Gas Turbines
Generator
Heat Exchanger
Heat Pump
Heat Recovery Unit
Hydraulic Pump
Kitchen Fans - See Exhaust or Supply Fan
Light
Miscellaneous Pump
Natural Ventilation
Packaged Air Conditioning Units
Passive Chilled Beams
People
Power Meters (System)
Power Sub-Meters
Primary Chilled Water Pumps
Primary Hot Water Pumps
Rain Water Tank
Refrigeration
Secondary Chilled Water System
Secondary Hot Water System
Solar Water Heater
Steam Boiler
Steam Meter
Steam Trap
Supply Air Fan
Tenant Condenser Water
Thermal Energy Meters
Thermal Labyrinth
Thermostat
Unassigned
Under-Floor Heating System
Uninterruptible Power Supply
Unit Heater
Variable Air Volume
Variable Refrigerant Volume Systems
Variable Speed Drive
Vertical Transport
Water Leak
Water Meters
Water Meters (System)
Water Treatment
Weather (System)
Zones